## Slide 1: Analyzing FTICR-MS data
Bob Danczak
robert.danczak@pnnl.gov

## Slide 2: What do we plan to cover in this tutorial?
A brief introduction to FTICR-MS as a technique
  How is data collected and what happens to it before it reaches you?
FREDA and ftmsRanalysis: Tools which help us analyze FTICR data
  Allison Thompson will walk us through the process
Relating FTICR data to other ‘omics
  I will guide you along data analysis performed by Emily Graham
Let’s process some data!
  I’ve prepared an interactive walkthrough on how to visualize your data and generate conclusions
A brief glimpse into novel analyses that we are developing

## Slide 3: A brief (and basic) introduction to FTICR-MS
FTICR-MS stands for Fourier Transform Ion Cyclotron Resonance Mass Spectrometry
The machine operates by:
  Trapping ions in a magnetic field
  Exciting ions with a range of pulses so that they orbit within the field, causing oscillations
  Measuring the oscillating signal over time
  Converting the signal into m/z values using a Fourier transformation
Samples must be ionized first – we typically use ”electron spray ionization in negative mode” or ESI-
  There are other ionizations (i.e., MALDI) and modes (i.e., positive) that could yield different results
21T FTICR-MS at EMSL
DISCLAIMER: This is not my area of expertise

## Slide 4: What does the data from the machine look like?
As with other mass spectrometry techniques, we get a spectra of m/z values
  Given that the formal charge is usually 1 in our case, these ratios are nearly synonymous with mass
In order to utilize the ultrahigh resolution of this technique, we need to pick our peaks
  Various tools exist, but we typically use “Bruker Compass DataAnalysis v4.2”

## Slide 5: What does the data from the machine look like?
As with other mass spectrometry techniques, we get a spectra of m/z values
  Given that the formal charge is usually 1 in our case, these ratios are nearly synonymous with mass
In order to utilize the ultrahigh resolution of this technique, we need to pick our peaks
  Various tools exist, but we typically use “Bruker Compass DataAnalysis v4.2”
Using the automated peak picking tool, we now have mass assignments for potential compounds
157.12354
255.23340
283.26474
325.18484
447.13532
473.28371
669.29840

## Slide 6: Assigning formulas to identified masses
We use a tool called Formularity to assign formulas to our dataset
  Very user-friendly
  Developed by Tolic et al. here at EMSL
  Alternatives do exist and more are being created
Performs a couple critical processing steps:
  Assigns formulas using a database curated by WHOI following a building blocks approach
  Calibrates peaks to a set of known, representative masses to ensure consistent masses across datasets
  Aligns peaks with slightly different masses to allow for comparisons across samples
DOI: 10.1021/acs.analchem.7b03318

## Slide 7: Assigning formulas to identified masses
A quick note about calibration and alignment:
Calibration can be performed by hand in Bruker’s DataAnalysis software
  Given minor variations, your results might vary slightly depending on calibration technique
Alignment isn’t necessarily good – slightly adjusting masses to ensure mass compatibility might not be satisfactory
  One potential alternative is consider only formulas from each dataset
  Many peaks lack formula assignment, however
DOI: 10.1021/acs.analchem.7b03318

## Slide 8: The finalized report
Mass
Stoichiometry
Composition
Class
Neutral
Mass
Error
Formula
Candidates
Samples

## Slide 9: What do we plan to cover in this tutorial?
A brief introduction to FTICR-MS as a technique
  How is data collected and what happens to it before it reaches you?
FREDA and ftmsRanalysis: Tools which help us analyze FTICR data
  Allison Thompson will walk us through the process
Relating FTICR data to other ‘omics
  I will guide you along data analysis performed by Emily Graham
Let’s process some data!
  I’ve prepared an interactive walkthrough on how to visualize your data and generate conclusions
A brief glimpse into novel analyses that we are developing

## Slide 10: What types of analyses can we do with this data?
Now that you have your report in hand, you can perform many different kinds of analyses
  Compare molecular composition across samples
  Calculate stoichiometrically derived metrics (i.e., aromaticity index, nominal oxidation state of carbon, etc.)
  Perform a Van Krevelen analysis to compare the “carbon landscape” between samples
Rather than develop these capabilities, why not use the ftmsRanalysis R package or it’s web app version FREDA
Double-Bond Equivalent
1 + C – O – S – 0.5(N + P + H)
NOSC
4C+H-3N-2O+5P-2S
C
-(
)+4
Gibb’s Free Energy
(carbon oxidation)
60.3-28.5*NOSC
Example Van Krevelen Graph
Kim et al, 2003; Koch and Dittmar, 2006

## Slide 11: FREDA Walkthrough
Fourier transform R Exploratory Data Analysis (FREDA)
Freely available at:
https://msc-viz.emsl.pnnl.gov/FREDA
Publication in submission to Analytical Chemistry
Contact: Lisa Bramer – lisa.bramer@pnnl.gov

## Slide 12: What do we plan to cover in this tutorial?
A brief introduction to FTICR-MS as a technique
  How is data collected and what happens to it before it reaches you?
FREDA and ftmsRanalysis: Tools which help us analyze FTICR data
  Allison Thompson will walk us through the process
Relating FTICR data to other ‘omics
  I will guide you along data analysis performed by Emily Graham
Let’s process some data!
  I’ve prepared an interactive walkthrough on how to visualize your data and generate conclusions
A brief glimpse into novel analyses that we are developing

## Slide 13: Novel multi ‘omic bioanalytics reveals biogeochemical cycles in high resolution
Valine mass: 99.07
m/z: 499.404
m/z: 400.3356
C20H16O9
Metabolomic biochemical transformations
Biochemical transformations: Graham et al. (2017) JGR Biogeosciences; Graham et al. (2018) Sci. of Total Environment

## Slide 14: Novel multi ‘omic bioanalytics reveals biogeochemical cycles in high resolution
Valine mass: 99.07
m/z: 499.404
m/z: 400.3356
C20H16O9
Metabolomic biochemical transformations
Biochemical transformation networks
Node = Peak (m/z)
Edge = Transformation
Biochemical transformations: Graham et al. (2017) JGR Biogeosciences; Graham et al. (2018) Sci. of Total Environment

## Slide 15: Novel multi ‘omic bioanalytics reveals biogeochemical cycles in high resolution
Valine mass: 99.07
m/z: 499.404
m/z: 400.3356
C20H16O9
Metabolomic biochemical transformations
Biochemical transformation networks
Metabolite modules
Cluster of biochemically-connected nodes
Node = Peak (m/z)
Edge = Transformation
Biochemical transformations: Graham et al. (2017) JGR Biogeosciences; Graham et al. (2018) Sci. of Total Environment

## Slide 16: Novel multi ‘omic bioanalytics reveals biogeochemical cycles in high resolution
Valine mass: 99.07
m/z: 499.404
m/z: 400.3356
C20H16O9
Metabolomic biochemical transformations
Biochemical transformation networks
Metabolite modules
Multi ‘omic network
Cluster of biochemically-connected nodes
Microbial class
Enzyme activity
Metabolite modules from different sample types
Node = Peak (m/z)
Edge = Transformation
Biochemical transformations: Graham et al. (2017) JGR Biogeosciences; Graham et al. (2018) Sci. of Total Environment

## Slide 17
Peatlands sequester up to 30% of global carbon (C)
Biogeochemical activity in peat is vertically-stratified
Need to understand C cycling mechanisms at intermediate peat depths to predict climate change
17
How does intermediate peat respond to simulated climate change?
Inputs/active cycling
Acrotelm (aerobic)
Peat accumulation
Catotelm (anaerobic)
Redox Fluctuations
Mesotelm
Case Study: Carbon Destabilization at SPRUCE experimental peatland
17

## Slide 18
0-10 cm and 30-40 cm (6 each), August 2017
Paired ambient and eCO2 at +0, +2.25, +9T
High resolution metabolomics (NMR, FTICR-MS)
Microbial activity (potential activities of 9 extracellular enzymes for C, N, & P)
Microbial composition (16S rRNA gene sequencing)
Standard physicochemistry (T, moisture, DOC, etc.)
Multi ‘omic analysis from surface and intermediate peat across simulated climate change gradient

## Slide 19
Less bioavailable
More bioavailable
More Organic N Cycling
Less Organic N Cycling
C-acquiring enzyme
P-acquiring enzyme
C bioavailability
Tradeoffs between organic C, N, and P cycling
As C cycling becomes more energetically costly, organic N cycling increases
With increases in organic N cycling, microbial investment in C and organic P declines
Notes: Fig 2. Tradeoffs between organic C, N, and P cycling in SPRUCE acrotelm. (A) As C cycling becomes more energetically costly, organic N cycling increases. With increases in organic N cycling, microbial investment in (B) C and (C) organic P declines. dGCox is the mean GFE of all peaks in a given sample; amino acid transformations denote the number of times a biochemical transformation assigned to an amino acid was present in the sample; and enzyme activities in (B) and (C) are potential activities derived from extracellular enzyme assays.

## Slide 20
Climate Change
Climate
Change
Intermediate
Node Key
Brown = Microbial Class Teal = Extracellular Enzyme
Light Green = Ambient Surface Metabolite Module Dark Green = Climate Surface Metabolite Module
Light Pink = Ambient Intermediate Metabolite Module Dark Pink = Climate Intermediate Metabolite Module
Multi ‘omic network reveals response of microbes and biochemistry to climate change
Surface
Notes: Fig 6. Distinct C chemistry and biochemical responses to temperature and CO2 across surface-to-intermediate depth. (A) In surface peat, biochemical C modules from ambient plots were associated with EEA and microoranisms typically assocaited with aerobic respiration (acidos, chitinophagia, flavo, gemma). Under elevated CO2/T, microbiomes associated with biochemical C modules shifted towards methane oxidizing and photosynthetic tax (methyl… Melainabacteria) as well as betaPB, other PB, and chlamydia (tighter network, few microbes). (B-E) show the normalized different of chemical attributes of organic matter (B-D) or biocehmical transformations (E) under ambient vs. simulated climate change within each layer.

## Slide 21
Surface: Climate change suppresses diversity of organisms associated with metabolite modules
Climate Change
Climate
Change
Intermediate
Surface
Multi ‘omic network reveals response of microbes and biochemistry to climate change
Node Key
Brown = Microbial Class Teal = Extracellular Enzyme
Light Green = Ambient Surface Metabolite Module Dark Green = Climate Surface Metabolite Module
Light Pink = Ambient Intermediate Metabolite Module Dark Pink = Climate Intermediate Metabolite Module
Notes: Fig 6. Distinct C chemistry and biochemical responses to temperature and CO2 across surface-to-intermediate depth. (A) In surface peat, biochemical C modules from ambient plots were associated with EEA and microoranisms typically assocaited with aerobic respiration (acidos, chitinophagia, flavo, gemma). Under elevated CO2/T, microbiomes associated with biochemical C modules shifted towards methane oxidizing and photosynthetic tax (methyl… Melainabacteria) as well as betaPB, other PB, and chlamydia (tighter network, few microbes). (B-E) show the normalized different of chemical attributes of organic matter (B-D) or biocehmical transformations (E) under ambient vs. simulated climate change within each layer.

## Slide 22
Surface: Climate change suppresses diversity of organisms associated with metabolite modules
Climate Change
Climate
Change
Intermediate
Surface
Multi ‘omic network reveals response of microbes and biochemistry to climate change
Node Key
Brown = Microbial Class Teal = Extracellular Enzyme
Light Green = Ambient Surface Metabolite Module Dark Green = Climate Surface Metabolite Module
Light Pink = Ambient Intermediate Metabolite Module Dark Pink = Climate Intermediate Metabolite Module
Notes: Fig 6. Distinct C chemistry and biochemical responses to temperature and CO2 across surface-to-intermediate depth. (A) In surface peat, biochemical C modules from ambient plots were associated with EEA and microoranisms typically assocaited with aerobic respiration (acidos, chitinophagia, flavo, gemma). Under elevated CO2/T, microbiomes associated with biochemical C modules shifted towards methane oxidizing and photosynthetic tax (methyl… Melainabacteria) as well as betaPB, other PB, and chlamydia (tighter network, few microbes). (B-E) show the normalized different of chemical attributes of organic matter (B-D) or biocehmical transformations (E) under ambient vs. simulated climate change within each layer.

## Slide 23
Intermediatiate: Climate change favors one specific class of organisms: Solibacteres (Acidobacteria group3)
Climate Change
Climate
Change
Intermediate
Surface
Multi ‘omic network reveals response of microbes and biochemistry to climate change
Node Key
Brown = Microbial Class Teal = Extracellular Enzyme
Light Green = Ambient Surface Metabolite Module Dark Green = Climate Surface Metabolite Module
Light Pink = Ambient Intermediate Metabolite Module Dark Pink = Climate Intermediate Metabolite Module
Notes: Fig 6. Distinct C chemistry and biochemical responses to temperature and CO2 across surface-to-intermediate depth. (A) In surface peat, biochemical C modules from ambient plots were associated with EEA and microoranisms typically assocaited with aerobic respiration (acidos, chitinophagia, flavo, gemma). Under elevated CO2/T, microbiomes associated with biochemical C modules shifted towards methane oxidizing and photosynthetic tax (methyl… Melainabacteria) as well as betaPB, other PB, and chlamydia (tighter network, few microbes). (B-E) show the normalized different of chemical attributes of organic matter (B-D) or biocehmical transformations (E) under ambient vs. simulated climate change within each layer.

## Slide 24
Intermediatiate: Climate change favors one specific class of organisms: Solibacteres (Acidobacteria group3)
Climate Change
Climate
Change
Intermediate
Surface
Multi ‘omic network reveals response of microbes and biochemistry to climate change
Node Key
Brown = Microbial Class Teal = Extracellular Enzyme
Light Green = Ambient Surface Metabolite Module Dark Green = Climate Surface Metabolite Module
Light Pink = Ambient Intermediate Metabolite Module Dark Pink = Climate Intermediate Metabolite Module
Notes: Fig 6. Distinct C chemistry and biochemical responses to temperature and CO2 across surface-to-intermediate depth. (A) In surface peat, biochemical C modules from ambient plots were associated with EEA and microoranisms typically assocaited with aerobic respiration (acidos, chitinophagia, flavo, gemma). Under elevated CO2/T, microbiomes associated with biochemical C modules shifted towards methane oxidizing and photosynthetic tax (methyl… Melainabacteria) as well as betaPB, other PB, and chlamydia (tighter network, few microbes). (B-E) show the normalized different of chemical attributes of organic matter (B-D) or biocehmical transformations (E) under ambient vs. simulated climate change within each layer.

## Slide 25
Functional Group
Elemental composition
C type
-0.3
-0.1
0.1
Surface Differences
Intermediate Differences
Metabolomes reveal climate-driven S and plant input cycling in surface; organic N in intermediate

## Slide 26: What do we plan to cover in this tutorial?
A brief introduction to FTICR-MS as a technique
  How is data collected and what happens to it before it reaches you?
FREDA and ftmsRanalysis: Tools which help us analyze FTICR data
  Allison Thompson will walk us through the process
Relating FTICR data to other ‘omics
  I will guide you along data analysis performed by Emily Graham
Let’s process some data!
  I’ve prepared an interactive walkthrough on how to visualize your data and generate conclusions
A brief glimpse into novel analyses that we are developing

## Slide 27: Let’s analyze some data together!
Now we are going to walkthrough a data analysis challenge together:
  All the files you need can be found on GitHub - https://github.com/danczakre/ICRTutorial
  There are a couple preliminary steps before we can start which are outlined in the walkthrough document on GitHub
Goal for today: Perform pre-processing on a report generated by Formularity, then produce and interpret some figures
Sample Collection
Run samples on ICR
Data preprocessing
Data analysis
Data interpretation

## Slide 28: Let’s analyze some data together!
Now we are going to walkthrough a data analysis challenge together:
  All the files you need can be found on GitHub - https://github.com/danczakre/ICRTutorial
  There are a couple preliminary steps before we can start which are outlined in the walkthrough document on GitHub
Goal for today: Perform pre-processing on a report generated by Formularity, then produce and interpret some figures
Sample Collection
Run samples on ICR
Data preprocessing
Data analysis
Data interpretation

## Slide 29: Data Preprocessing
Pressing the “Source” button will run the entire script
You should see a pop-up asking you to select the directory containing the Report
This script will generate two files, a Data and Mol file.
Removes peaks with an isotopic signature, and filters based upon a mass range of 200-900 m/z
This is a quick view of the FTMS_Analysis.R which utilizes the ftmsRanalysis package

## Slide 30: Overview of data analytics
Two files should have been generated:
  The Data file contains the compound-by-site information
  The Mol file contains molecular information (i.e., stoichiometry, NOSC)
These two files can now be used in many different analyses
  What types of carbon are present and do they change through space/time?
  Are the profiles similar or distinct to each other?
  When and where is carbon more thermodynamically available?
We will walk through two specific analyses, transformations and carbon use
Data
Mol
Transformation Analysis
Multivariate Analyses
Thermodynamics

## Slide 31: The transformation analysis
The ultrahigh-resolution mass accuracy of FTICR data enables us to perform a “transformation analysis”
  By calculating the mass difference between compounds, we can assign biochemical transformations according to a database of known transformations with exact masses
More importantly, these transformations can be used to construct a transformation network
  We will not be covering this in detail, but differences in networks might be indicate differing biochemical capabilities
Compound 1
(541.1563282 m/z)
Compound 2
(385.0552115 m/z)
Difference of ~156.1011167 m/z
~156.1011167 m/z
=
Arginine
Example of a transformation
Transformation Network

## Slide 32: The transformation analysis
You should see a pop-up asking you to select the directory containing the Data and Mol files
This script will generate a trans. profile, many pairwise trans. files, and two figures
This is a quick view of the Transformation_Analysis.R script which will match mass differences to biochemical reactions
Pressing the “Source” button will run the entire script

## Slide 33: Investigating carbon use efficiency
Using calculations from Hyun Seob Sung, we can measure carbon use efficiency
  Using , we can derive the “stoichiometric coefficient” or YCs,i – the number of moles required to generate biomass
  Systems which require more are not optimized, while those which require more are efficient
By tracking carbon use efficiency through space/time, we can investigate factors affecting biogeochemical cycles
 is the number of times the catabolic reaction runs to produce one C-mole of biomass
Song et al., in prep
GCat
GAn
GDis
Thermodynamic representation of energy coupling
Catabolism
Anabolism
Metabolic
reaction
S(Ed, Ea)
P
Cs, Ns
Biom
Dissipation
(constant fraction)

## Slide 34: Investigating carbon use efficiency
You should see a pop-up asking you to select the directory containing the Report
This is a quick view of the the Carbon_Efficiency.R script which uses the calculations devised by Hyun Seob Song
Pressing the “Source” button will run the entire script
This script will generate a figure demonstrating carbon use efficiency through time

## Slide 35: Data Interpretation
With these results in hand, we can better understand our ecosystem
  There are amino acid transformations which occur more frequently than others
  Carbon use efficiency is slightly dynamic through time, but does not substantially vary between water types
While nothing conclusive can be drawn from these two data types alone, by expanding this study to other multivariate analyses we can develop conceptual models
Comparisons of AA Transformations
YCs,i through time

## Slide 36: What do we plan to cover in this tutorial?
A brief introduction to FTICR-MS as a technique
  How is data collected and what happens to it before it reaches you?
FREDA and ftmsRanalysis: Tools which help us analyze FTICR data
  Allison Thompson will walk us through the process
Relating FTICR data to other ‘omics
  I will guide you along data analysis performed by Emily Graham
Let’s process some data!
  I’ve prepared an interactive walkthrough on how to visualize your data and generate conclusions
A brief glimpse into novel analyses that we are developing

## Slide 37: Multi-ecosystem Metabolomics
By investigating metabolite data through the lens of metacommunity ecology, we can reveal generalizable principles and enhance biogeochemical predictability
A key component of these analyses is the generation of a metabolite dendrogram
  This allows us to estimate the “relatedness” between metabolites based upon transformations and molecular characteristics
Transformation-Weighted Characteristics Dendrogram
Danczak et al., in prep

## Slide 38: We can identify deterministically influential metabolites
Relational dendrograms allows the use of a broader suite of ecological tools
  Many ecological metrics use relationships to improve diversity estimates
  Initial results suggest these measurements help reveal generalizable principles
A new metric that we’ve developed (βNTIfeature) allows us to investigate features which overwhelmingly influence assemblage structure
  Null modeling approach to determine which features are consistently more different or similar in a dataset
  Can be used with microbial or metabolite data
Lignin-like
Carbohydrate-like
Others
Differences
Similarities
Drives:
Similarities
Differences
Danczak et al., in prep

## Slide 39: Acknowledgements
James Stegen
Emily Graham
Allison Thompson, Lisa Bramer, and everyone who helped develop FREDA and ftmsRanalysis
Environmental Molecular Sciences Laboratory (EMSL)
  Nikola Tolic
  Rosey Chu
  Jason Toyoda
  Many others
The WHONDRS team
  Amy Goldman
  Vanessa Garayburu-Caruso
  Lupita Renteria
  Josh Torgeson
  Jackie Wells (at OSU now)
  Joseph Morad
  Sawi Kumar
The SBR SFA
Everyone who sent in samples for WHONDRS